## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: <ED,NABI>
Name of Work: Supply, Installation, Testing & Commissioning of BMS compatible BTU cum Flow meter on primary side of PHE unit installed for Param Smriti Super Computing Facility at Lab Bldg., National Agri-Food Biotechnology Institute (NABI), Knowledge City, Sector-81, Mohali-Punjab,India.
Contract No: <NABI/ENGG/7(089)/2024-25>
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / For other than INR Currency, mentioned currency name in technical part | BASIC RATE In Figures To be entered by the Bidder (Inclusive of GST) Rs. P | Excise Duty | GST filled Total GST % | Freight Charges ( Unloading & Stacking) { CIF charges for other than INR Bidders) | Any Other Taxes/Duties/Levies | Other Charges- If any-P&F ( FCA charges for other than INR bidders) | IIIrd Party Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT With GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49
1.01 | Supply, Installation, Testing and Commissioning of Ultrasonic heating & cooling flow meter of dia 65 mm complete with Digital display microprocessor technology and ultrasonic measuring techniques, data logger, flanges, gasket, thermo well, fittings, sensors, control wiring and necessary hardware complete in all respects. | ITEM1 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supply, Installation, Testing and Commissioning of Ultrasonic heating & cooling flow meter of dia 65 mm complete with Digital display microprocessor technology and ultrasonic measuring techniques, data logger, flanges, gasket, thermo well, fittings, sensors, control wiring and necessary hardware complete in all respects. | ITEM1 | 1 | Nos.
1.02 | Supply, Installation, Testing and Commissioning of Butterfly valves dia 65 mm, flanges, gasket, nut & bolts, fittings, pipe etc. complete as required. | ITEM2 | 3 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Supply, Installation, Testing and Commissioning of Butterfly valves dia 65 mm, flanges, gasket, nut & bolts, fittings, pipe etc. complete as required. | ITEM2 | 3 | Nos.
1.03 | Supply, Installation, Testing and Commissioning of insulation of the newly laid meter and valves etc. complete as required with Nitrile 19mm thick in double layer pasted on the pipe with suitable adhesive and cladded with Al sheet of 26Gauge with necessary hardware. | ITEM3 | 1 | Nos. |  |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.03 | Supply, Installation, Testing and Commissioning of insulation of the newly laid meter and valves etc. complete as required with Nitrile 19mm thick in double layer pasted on the pipe with suitable adhesive and cladded with Al sheet of 26Gauge with necessary hardware. | ITEM3 | 1 | Nos.
1.04 | Supply, Installation, Testing and Commissioning DDC Controller Panel: The controllers shall be 32 bit microprocessor based standalone with real time clock. The DDC's shall be capable of peer to peer communication with other DDCs and lockable MS mounting cabinets duly powder coated connector strip, internal wiring and space to house controller & relays, connector strip current transformer, MCB, internal wiring. Use of AI to DI multiplexer is also not acceptable. DDCs shall be compact factories fitted with IO Points with 6 Nos. Immersion Temp Sensor for CHW line with brass thermo well. Measuring range: 30-110⁰C, Accuracy: ±1.3 ⁰C. | ITEM4 | 1 | Nos. |  |  |  | Excess(+) | 6 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.04 | Supply, Installation, Testing and Commissioning DDC Controller Panel: The controllers shall be 32 bit microprocessor based standalone with real time clock. The DDC's shall be capable of peer to peer communication with other DDCs and lockable MS mounting cabinets duly powder coated connector strip, internal wiring and space to house controller & relays, connector strip current transformer, MCB, internal wiring. Use of AI to DI multiplexer is also not acceptable. DDCs shall be compact factories fitted with IO Points with 6 Nos. Immersion Temp Sensor for CHW line with brass thermo well. Measuring range: 30-110⁰C, Accuracy: ±1.3 ⁰C. | ITEM4 | 1 | Nos.
1.05 | Supply, Laying, Testing and Commissioning of control cum transmission wiring of 2 core X 1.5 sq. mm² copper wire, armoured ATC conductor cable for Powering DDC, actuators etc. in suitable PVC conduits. | ITEM5 | 450 | Mtr. |  |  |  | Excess(+) | 7 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.05 | Supply, Laying, Testing and Commissioning of control cum transmission wiring of 2 core X 1.5 sq. mm² copper wire, armoured ATC conductor cable for Powering DDC, actuators etc. in suitable PVC conduits. | ITEM5 | 450 | Mtr.
1.06 | Supply & Installation of Armoured Cat-6 networking cable. In suitable PVC conduits. | ITEM6 | 100 | Mtr. |  |  |  | Excess(+) | 7 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.06 | Supply & Installation of Armoured Cat-6 networking cable. In suitable PVC conduits. | ITEM6 | 100 | Mtr.
Total in Figures | [51 empty] | 0 | 0 | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information